## Biostimulator Map
DRAFT — UNVERIFIED (model knowledge + verified sources). Per-row 'Source verification' = Verified / Draft (unverified). NEVER use unverified data clinically without cross-checking IFU/SmPC.
Brand | Product | Manufacturer | Region | Chemistry / Class | Active + Concentration | Vial / Syringe Size | Reconstitution / Dilution Protocol | Mechanism (Neocollagenesis) | Zones — Face | Zones — Body | Face / Body | Depth / Plane | Onset (wks) | Longevity (mo) | Reversibility | Sessions (course) | FDA Approval | CE Mark | Spain / AEMPS | Lidocaine | Cross-brand Equivalent | Clinical Confidence | Evidence Class | Nodule / Granuloma Risk | Combination / Dilution Notes | Name Logic / Quick Memory | Special Uses / Cautions | Source Verification | Source URL | Source Type
Radiesse | Radiesse 1.5 mL | Merz Aesthetics (Merz GmbH & Co. KGaA) | US / EU / Global | CaHA | CaHA microspheres 30% v/v (25–45 µm) in CMC/glycerin/water carrier gel 70% | 1.5 mL syringe; also 0.3 mL, 0.8 mL, 3.0 mL available | Ready to inject. Hyperdilution: see Hyperdiluted Radiesse row. | CMC gel → immediate volume (resorbs in weeks). CaHA microspheres → scaffold for fibroblast attachment + M2c macrophage pathway (organised collagen, no FBR) → collagen I + III + elastin synthesis. CaHA degrades → Ca²⁺ + PO₄³⁻ (natural bone mineral). | NLFs, cheeks/malar, mandibular/jawline, pre-jowl sulcus, chin, temples, décolleté | Hands (FDA-approved), décolleté (FDA 2026), body (hyperdiluted) | Both | Subdermal or supraperiosteal (face); subcutaneous (hands/body). NEVER intradermal. | Immediate (CMC) + collagen 4–8 weeks; visible improvement at 4 months (90% HCP-reported, décolleté trial) | 12–18 standard; up to 36 reported in objective studies | NOT reversible with hyaluronidase. Spontaneous osteoclast/MMP degradation 12–24 months. Sodium thiosulfate (STS): case report use; NOT recommended as emergency reversal (risk of necrosis). | 1–2 (structural); 2–3 (hyperdiluted biostimulation) | YES — PMA P050037 (HIV lipoatrophy 2006); P050052 (NLF/facial folds 2006); P050052S049 (hands 2015); décolleté supplement April 2026 — first/only US-approved biostimulator for face AND body | Yes — Class III | Yes (AEMPS registry) | No (Radiesse+ = lidocaine variant) | Radiesse+ (with lidocaine), Ellansé M/L (PCL similar zones), HArmonyCa (CaHA+HA hybrid) | High | Multiple RCTs; FDA-reviewed PMA; ISAPS/ASDS consensus. PMC11025388 (regenerative review 2024). PMC10693750 (hyperdiluted protocols). | Low-rare — 0.27% severe complications (5,032-patient systematic review). ABSOLUTE CONTRAINDICATION: lips, periocular area (high nodule/vascular risk). | HYPERDILUTED PROTOCOL: see Hyperdiluted Radiesse row. Combine with neurotoxin, PRP, energy devices. NEVER mix with HA in same syringe. | Radiesse: Radio=calcium (Ca), esse=essence. FDA hands (2015) + décolleté (2026) = broadest label. Think: immediate + sustained. | ABSOLUTE: no lips, no periocular. No hyaluronidase reversal. STS not standard reversal. Intravascular injection: no antidote unlike HA. [AEMPS] 3 SKUs registered in ES (see aemps-registry) | Verified | https://www.accessdata.fda.gov/cdrh_docs/pdf5/p050037c.pdf ¦ https://merzaesthetics.com/news/fda-approval-radiesse-for-treatment-of-wrinkles-in-decollete-area/ ¦ https://pmc.ncbi.nlm.nih.gov/articles/PMC11025388/ | Regulator (FDA PMA) + Manufacturer + Peer-review (PMC)
Radiesse | Radiesse+ 1.5 mL (with lidocaine) | Merz Aesthetics | US / EU / Global | CaHA | CaHA 30% (25–45 µm) + 0.3% lidocaine HCl in CMC/glycerin carrier | 0.8 mL and 1.5 mL syringes | Ready to inject. Same hyperdilution protocols applicable. | Identical to Radiesse. Lidocaine reduces procedural discomfort only. | Same as Radiesse; jawline contour = specific FDA labeled indication for Radiesse+ | Same as Radiesse | Both | Deep subdermal and/or supraperiosteal — particularly for jawline | Immediate + 4–8 | 12–18 | NOT reversible | 1–2 | YES — PMA P050052 supplement; jawline = specific Radiesse+ indication | Yes | Yes (AEMPS registry) | Yes — 0.3% | Radiesse (without lidocaine), Ellansé M/L | High | Same evidence base as Radiesse. FDA P050052S049 (hands IFU). | Same as Radiesse | Preferred for painful zones (jawline, supraperiosteal). Same hyperdilution protocols. | Radiesse+ = '+' lidocaine (Merz + suffix convention). Jawline: preferred over plain Radiesse. | Lidocaine allergy → use Radiesse. Same absolute contraindications: no lips, no periocular. [AEMPS] 3 SKUs registered in ES (see aemps-registry) | Verified | https://www.accessdata.fda.gov/cdrh_docs/pdf5/P050052S049d.pdf ¦ https://radiesse.com/professionals/radiesse-plus/ | Regulator (FDA) + Manufacturer
Radiesse | Hyperdiluted Radiesse (biostimulation technique) | Merz Aesthetics (technique applied to on-label Radiesse/Radiesse+ product) | Global — on-label for décolleté 1:2 dilution (FDA 2026); off-label for other dilutions/zones | CaHA (diluted) | CaHA 30% diluted to ~5–10% effective concentration depending on ratio | 1.5 mL Radiesse + diluent (saline ± lidocaine) | DILUTION PROTOCOLS (evidence-based): 1:1 — 1.5 mL + 1.5 mL NS = 3.0 mL (moderate: face/neck mild laxity) 1:2 — 1.5 mL + 3.0 mL NS/lido = 4.5 mL (biostimulation dominant; FDA on-label décolleté) 1:4 — 1.5 mL + 6.0 mL NS = 7.5 mL (pure biostimulation; body/30–40 yr) 1:6 — 1.5 mL + 9.0 mL NS = 10.5 mL (very atrophic skin/large areas) Clinical recipe: 1.5 mL Radiesse + 2.5 mL NS + 0.5 mL 1% lido = 4.5 mL (1:2 with analgesia). Mix thoroughly; inject immediately (product separates at high dilution). | At high dilution: CMC volume effect lost; pure biostimulation mode. CaHA microspheres dispersed over larger area → pandermal collagen + elastin neostimulation. Skin quality > volumisation. | Neck, décolleté (1:2 ratio), face (1:1 to 1:2) | Arms (inner/posterior), abdomen, inner thighs, knees, buttocks skin quality | Both | Subepidermal to deep dermal-subdermal plane (shallower than structural Radiesse); 27–30 G needles (face/neck) or 50 mm 25 G cannula (body) | 4–8; full effect 4 months | 12–18 (biostimulatory effect) | NOT reversible | 3 sessions × 30-day intervals; maintenance q12–18 months | Partial — décolleté at 1:2 = on-label (April 2026). Other zones/dilutions: off-label technique. | On-label product; dilution technique covered by European consensus guidelines | Yes (AEMPS registry) | Added to most dilution protocols | Sculptra diluted (PLLA), Profhilo (HA bioremodeler for skin quality) | Med | Peer-reviewed case series + cohort studies (PMC10693750). Efficacy by age: 30–40 yr ~95%; 40–60 yr ~80%; >60 yr ~70%. | LOW at high dilution — microspheres dispersed. Higher risk if placed superficially undiluted. | Inject before HA in same session. NEVER mix HA + CaHA in syringe. Excellent with neurotoxin, PRP, energy devices. | Hyperdiluted = biostimulation mode. Dilute MORE = less volume, more area, better skin quality. 1:4 = preventive. | Off-label dilution technique (except décolleté 1:2). No CaHA reversal. Intravascular: no antidote. [AEMPS] 3 SKUs registered in ES (see aemps-registry) | Verified | https://pmc.ncbi.nlm.nih.gov/articles/PMC10693750/ ¦ https://merzaesthetics.com/news/fda-approval-radiesse-for-treatment-of-wrinkles-in-decollete-area/ | Peer-review (PMC) + Manufacturer (FDA approval news)
HArmonyCa | HArmonyCa | Allergan Aesthetics / AbbVie | EU / Israel / Brazil / select markets; US FDA status — verify (not confirmed by primary FDA database search) | CaHA + HA hybrid | HA 20 mg/mL (crosslinked) + CaHA microspheres 55.7% (25–45 µm) + lidocaine 0.3% | 1.25 mL prefilled syringe | Ready to inject; 22 G cannula recommended | Dual-phase: (1) HA gel → immediate volumisation/hydration + tissue integration; (2) CaHA microspheres → fibroblast activation from ~4 weeks → neocollagenesis + increased reticular dermis viscoelasticity (elastography confirmed). First injectable hybrid HA/CaHA. | Middle + lower face: cheeks/malar, jawline, jaw ramus, pre-jowl sulcus, zygomatic/malar area | Neck, décolleté (off-label) | Face (primary) | Superficial subcutaneous; 5 zone entry points: subzygomatic, mandibular body, pre-jowl, parotid, zygomatic/malar | Immediate (HA) + 4 weeks (CaHA collagen) | 12–18 (HA degrades faster; CaHA persists) | PARTIAL — HA reversible with hyaluronidase; CaHA NOT reversible. Critical safety distinction vs pure HA. | 1 (single treatment: highly satisfactory outcomes in prospective study n=129) | Unconfirmed — verify at accessdata.fda.gov. CE-launched across Europe. Initial launch: Israel → Brazil → Ukraine → Europe. | Yes | Yes (AEMPS registry) | Yes — 0.3% integral | Radiesse (CaHA) + HA combination (separate products); Juvelook (PDLLA+HA, different chemistry) | Med | Phase III clinical data (Allergan/AbbVie sponsored); Italian retrospective n=study (PMC11626326); PMC10860969 (safety retrospective). Limited 2+ year independent data. | Very low in published studies — minor AEs: erythema, swelling, bruising; spontaneously resolved. Avoid lips, periorbital, glabella. | HA component provides partial reversibility advantage over pure CaHA. Retrograde linear fanning via 22 G cannula. 0.625–2.5 mL/hemiface. | HArmonyCa = HArmon(y) + Ca(lcium). HA + CaHA = harmony between immediate + sustained. First hybrid. | PARTIAL reversal only — HA yes, CaHA no. Not periorbital/lips/glabella. FDA status: verify. New product. [AEMPS] 2 SKUs registered in ES (see aemps-registry) | Verified | https://pmc.ncbi.nlm.nih.gov/articles/PMC11626326/ ¦ https://pmc.ncbi.nlm.nih.gov/articles/PMC10860969/ | Peer-review (PMC) — Italian retrospective + safety cohort
Neauvia | Neauvia Stimulate | MATEX LAB S.p.A. (Brindisi, Italy) | EU / select markets — NOT FDA approved | HA + CaHA nano + amino acids (biostimulating HA) | HA 26 mg/mL (PEG-crosslinked, not BDDE) + CaHA 1% + L-Proline + Glycine (exact AA concentrations not published) | 1 mL syringe | Ready to inject | CaHA 1% → M2c macrophage pathway → organised fibroblast activation → neocollagenesis (same CaHA class mechanism as Radiesse, lower concentration). HA → immediate volume + scaffold. L-Proline + Glycine = direct collagen precursor/structural amino acids. PEG crosslinking: 30× less toxic than BDDE, enzymatically resistant. | Midface, cheeks/malar, mandibular, temples, jawline; NLIFT protocol | Décolleté (limited) | Face | Subdermis and/or supraperiosteal | Immediate (HA) + 4–8 (CaHA collagen) | 12–18 (HA component ~6 months; biostimulatory effect longer) | NOT reversible — PEG-HA not hyaluronidase-responsive; CaHA not reversible | 1–2 | No | Yes — Class III | Yes (AEMPS registry) | No | HArmonyCa (CaHA+HA, BDDE crosslinked HA), Radiesse (CaHA only) | Low-Med | PMC12323983 (immunologic classification of biostimulators — supports CaHA mechanism at 1%); AMWC 2026 Most Disruptive Innovation; limited branded Neauvia Stimulate RCT. | Very low (1% CaHA = much lower than Radiesse 30%). Avoid lips, periorbital. | Triple mechanism: HA volume + CaHA biostimulation + amino acid collagen substrates. PEG crosslinking = no BDDE concerns. | Neauvia Stimulate: the HA that stimulates. Triple mechanism. Italian Matex Lab. | PEG-HA not reversible with hyaluronidase — important patient counselling. Not FDA approved. [AEMPS] 12 SKUs registered in ES (see aemps-registry) | Verified | https://pmc.ncbi.nlm.nih.gov/articles/PMC12323983/ ¦ https://www.neauvia.com/product/stimulate/ | Peer-review (PMC) + Manufacturer
Profhilo | Profhilo Body | IBSA Farmaceutici Italia S.r.l. | EU / UK | HA bioremodeler | Higher HA concentration than face Profhilo (exact: verify IFU; approx 96–128 mg/2 mL) | 2 mL syringe (higher yield) | Ready to inject | Same NAHYCO thermal hybrid mechanism; optimised concentration for larger body surface areas and thicker subcutaneous layer. | Not primary | Arms (inner/posterior), abdomen, thighs, knees, décolleté, buttocks skin quality | Body | Subdermal; multiple injection points across large areas | 3–6 | 6–9 | Biodegradable | 2–3 sessions × 4 weeks | No | Yes | Yes (AEMPS registry) | No | Profhilo face (lower concentration), Hyperdiluted Radiesse (body skin quality) | Med | Growing EU data; fewer RCTs than Profhilo face | Very low | Body protocols: multiple injection points. Combine with energy devices. | Profhilo Body = face version scaled for body. More HA, larger treatment zones. | As Profhilo face. Body injections = larger volumes, longer time. [AEMPS] 6 SKUs registered in ES (see aemps-registry) | AEMPS registry (ES) | https://www.ibsaderma.com/en/profhilo-body | Manufacturer
Profhilo | Profhilo (face) | IBSA Farmaceutici Italia S.r.l. (Lodi, Italy) | EU / UK / select markets — NOT FDA approved | HA bioremodeler (ultra-high + low MW HA — NAHYCO® thermal hybrid) | H-HA 32 mg (1100–1400 kDa) + L-HA 32 mg (80–100 kDa) = 64 mg total HA per 2 mL; NO crosslinking agent | 2 mL pre-filled syringe | Ready to inject | NOT a true biostimulator — BIOREMODELER. Thermal hybrid HA → stimulates 4 HA receptors (CD44, RHAMM, TLR4, HARE) on fibroblasts → endogenous production of collagen I/III/IV, elastin, laminin. No FBR. No polymer. Spreads ~2 cm from injection point. Signalling-based neocollagenesis. | Full face (BAP technique: 5 injection points per hemiface — cheeks, perioral, mandibular area) | Neck, décolleté, hands, inner arms, abdomen, inner thighs, knees (Profhilo Body) | Both | Subdermal (BAP: low and slow bolus). NOT intradermal. | 2–4 progressive improvement | 6 (face); maintain with 2 sessions/year | Biodegradable; no crosslinking = no hyaluronidase dissolution route. Spontaneous degradation. | 2 sessions × 4-week interval; maintenance 2×/year | No | Yes — Class III | Yes (AEMPS registry) | No (NAHYCO thermal process incompatible; use tumescent or topical anaesthesia) | Profhilo Body (body version), Profhilo Structura (structural variant), HA skinboosters (less bioremodelling) | High | Multiple RCTs + peer-reviewed EU studies; strongest evidence base in HA bioremodeler class. Beatini 2018 J Cosmet Dermatol; 2021 systematic review Dermatol Ther; 2023 Aesthetic Plast Surg review. | Very low — spreads widely. Large bolus = lump (massage + hyaluronidase anecdotally reported). | BAP = Bio Aesthetic Points: standardised 5-point/hemiface technique. Do NOT inject intradermally. Excellent with neurotoxin, energy devices. HA fillers at different session. | Profhilo: PRO + HILO (high+low MW). 10 injections, 5/side. Deep, slow, spread. The original bioremodeler. | NOT a filler — no structural correction. PEG-free but no crosslinker = no reversal route. Bee venom allergy: rare HA receptor sensitivity. [AEMPS] 6 SKUs registered in ES (see aemps-registry) | Verified | https://pmc.ncbi.nlm.nih.gov/articles/PMC12323983/ ¦ https://www.ibsaderma.com/en/profhilo ¦ https://pubmed.ncbi.nlm.nih.gov/30221451/ | Peer-review (PMC + PubMed) + Manufacturer
Ellansé | Ellansé S (≤18 months) | Sinclair Pharma PLC / produced by Aqtis Medical BV (Netherlands) | EU / Asia-Pacific — NOT FDA approved | PCL | PCL microspheres 30% (25–50 µm, spherical smooth) in CMC gel carrier 70% | 1.0 mL prefilled syringe; 27 G needle included | Ready to inject — NO reconstitution. CMC gel degrades in 4–8 weeks (immediate volume). | CMC gel → immediate correction. PCL microspheres → mechanotransduction FBR → fibroblast recruitment → Type III collagen (9 months) → Type I collagen (21 months) + elastin + neovascularisation. PCL hydrolyses to 6-hydroxycaproic acid → CO₂ + H₂O. | NLFs, cheeks/malar, midface, jawline, pre-jowl, temples, chin | Hands (dorsum), décolleté (off-label) | Face (primary) | Supraperiosteal (upper face/temples/brow); subcutaneous (midface/NLF); superficial subcutaneous (hands) | Immediate + 2–4 (collagen begins); full effect 3–6 months | Up to 18 (minimum 12) | NOT reversible — no enzyme, no chemical dissolution. Spontaneous hydrolytic degradation only. | 1 session (touch-up at 4–6 weeks if needed) | NO — Phase III trial ongoing (NCT06984835) for US approval | Yes — Class III CE 2009 | Yes (AEMPS registry) | No standard formulation; off-label mixing reported | Ellansé M (longer), Radiesse (CaHA, similar zones, shorter longevity), Sculptra (PLLA, needs more sessions) | High | Multiple RCTs + consensus (PMC7065466 PCL review; PMC adverse events 0.056% overall). Adverse event rate 1/1,769 syringes. | LOW — PCL microspheres denser/smoother than PLLA, less migration. Rate: 0.023% overall. Avoid lips, glabella, periorbital. | Ellansé = dual filler + biostimulator in one product. Use S for new patients/higher-mobility zones. Avoid lips. | Ellansé S→M→L→E = shortest to longest PCL strand. S=18mo, M=24mo, L=36mo, E=48mo. | NOT FDA approved. Avoid lips, periorbital. Ellansé E: check local availability (some EU market withdrawals). Irreversibility is key risk. [AEMPS] 7 SKUs registered in ES (see aemps-registry) | Verified | https://pmc.ncbi.nlm.nih.gov/articles/PMC7065466/ ¦ https://www.mdpi.com/2079-9284/11/5/165 ¦ https://clinicaltrials.gov/study/NCT06984835 | Peer-review (PMC) + Regulator (ClinicalTrials)
Ellansé | Ellansé M (≤24 months) | Sinclair Pharma / Aqtis Medical BV | EU / Asia-Pacific — NOT FDA approved | PCL | PCL microspheres 30% (longer polymer chain than S) in CMC gel 70% | 1.0 mL prefilled syringe | Ready to inject | As Ellansé S; longer PCL chain = slower degradation = extended biostimulation period | Cheeks/malar, midface, jawline, pre-jowl, temples, chin, NLFs | Hands, décolleté | Face (primary) | As Ellansé S | Immediate + 2–4 | Up to 24 (some reports to 36) | NOT reversible | 1 | No | Yes | Yes (AEMPS registry) | No | Ellansé S (shorter), Ellansé L (longer), Radiesse+ (CaHA) | High | M is the most widely-used Ellansé variant with most published data. | Low (0.023% class rate) | Workhorse variant. Balances longevity with manageable irreversibility window. | M = Medium = most popular. 2-year mid-tier PCL. | As Ellansé S. Not FDA approved. [AEMPS] 7 SKUs registered in ES (see aemps-registry) | Verified | https://pmc.ncbi.nlm.nih.gov/articles/PMC7065466/ ¦ https://www.tandfonline.com/doi/full/10.2147/CCID.S385202 | Peer-review (PMC)
Ellansé | Ellansé L (≤36 months) | Sinclair Pharma / Aqtis Medical BV | EU / Asia-Pacific — NOT FDA approved | PCL | PCL microspheres 30% (longer chain than M) in CMC gel 70% | 1.0 mL prefilled syringe | Ready to inject | As Ellansé M; further prolonged biostimulation window | Cheeks, jawline, temples, chin | Hands (less common) | Face | Deep subcutaneous to supraperiosteal | Immediate + 2–4 | Up to 36 | NOT reversible | 1 | No | Yes | Yes (AEMPS registry) | No | Ellansé M (shorter), Ellansé E (longer) | Med-High | Clinical data + RCTs; more uncertainty at 3-year mark | Low | Consider: anatomy changes over 3 years — patient selection important. | L = Long (3yr). Third in S→M→L→E progression. | Long longevity = long adverse-event duration if complications. Not FDA approved. [AEMPS] 7 SKUs registered in ES (see aemps-registry) | Verified | https://pmc.ncbi.nlm.nih.gov/articles/PMC7065466/ | Peer-review (PMC)
Ellansé | Ellansé E (≤48 months) | Sinclair Pharma / Aqtis Medical BV | EU / Asia-Pacific — verify local availability; withdrawn from some EU markets | PCL | PCL microspheres 30% (longest chain) in CMC gel 70% | 1.0 mL prefilled syringe | Ready to inject | Maximum longevity PCL strand; sustained biostimulation up to 4 years | Cheeks, jawline (structural, experienced patients) | Body protocols (limited data) | Face | Deep subcutaneous to supraperiosteal | Immediate + 2–4 | Up to 48 (claimed; long-term independent data limited) | NOT reversible — critical concern at 4-year scale | 1 | No | CE status: verify locally — some EU markets withdrew | Yes (AEMPS registry) | No | Ellansé L (shorter, more common), Sculptra (PLLA, sessions needed but shorter commitment) | Low-Med | Limited long-term independent data; 4-year claims not fully validated | Low, but irreversibility window spans 4 years — major consideration | Reserve for stable structural deficit, experienced practitioners, informed patients. | E = Extra / Extreme. Most controversial Ellansé. 4-year commitment. | AVAILABILITY UNCERTAIN in some EU markets. Expert opinion divided. Not FDA approved. Any complication persists for up to 4 years. [AEMPS] 7 SKUs registered in ES (see aemps-registry) | AEMPS registry (ES) | https://www.sinclairpharma.com/products/ellanse/ ¦ https://www.medicadepot.com/blog/ellanse-fda-approval.html | Manufacturer
Gouri | Gouri PC (injectable liquid PCL) | Dexlevo Inc. (Seoul, South Korea) | Korea / EU (CE) / select markets | PCL (liquid/solubilised) | PCL (polycaprolactone) 210 mg/mL fully solubilised; CESABP technology | 1 mL pre-filled syringe — NO reconstitution needed | NONE. Ready-to-use liquid. Shake gently before use. World's first injectable liquid PCL. | Soluble PCL distributes evenly in subcutaneous plane → slow hydrolytic degradation → sustained fibroblast stimulation → collagen Type I + III neosynthesis. No microparticle aggregation → theoretically lower nodule risk. | Full face panfacial distribution: cheeks, temples, forehead, perioral; also periorbital (cautiously) | Neck, décolleté, hands; body protocols developing | Both | Subcutaneous; fanning technique for even distribution | 1–2 (faster onset claimed vs particulate PLLA) | 9–12 per complete protocol (shorter track record than PLLA; product <5 years on market) | NOT reversible | 3 sessions × 4-week intervals; 1–2 maintenance at 3–6 months | No | Yes — CE 2764 | CE-marked, available in EU/Spain | Can be mixed per protocol | Ellansé S/M (particulate PCL), Sculptra (PLLA particulate) | Low-Med | Manufacturer data (gorgeousgouri.com); limited independent peer-reviewed trials; CE safety data. | Theoretically LOWEST of all biostimulators — liquid, no microparticles, no crystalline fragments. Long-term surveillance data limited. | No reconstitution prep advantage. Can distribute panfacially in one session. Note: PCL chemistry, NOT PLLA. | Gouri = go + uri (Korean 'us'). The ready-to-use liquid PCL. No mixing, just shake. | New product (<5 y market data). Not FDA approved. Periorbital: caution. PCL ≠ PLLA — different polymer. | Draft (unverified) | https://gorgeousgouri.com/why_gouri ¦ https://dexlevo.com/en/product/gouri | Manufacturer
AestheFill | AestheFill | Regen Biotech Inc. (Seoul, South Korea) | Korea (MFDS 2014) / EU (CE 2021) — NOT FDA approved | PDLLA | PDLLA (poly-D,L-lactic acid) 154 mg + CMC 46 mg = 200 mg/vial; microporous spheres mean Ø 27 µm | 1 vial powder → 9–10 mL facial / 10–20 mL body after reconstitution | Add 7–8 mL SWFI; back-and-forth between syringes ×5 + agitation until homogeneous. Stand 10–30 min (overnight acceptable for convenience). Add 1–2 mL 2% lidocaine (consensus recommendation). Use same session. | Amorphous PDLLA microspheres (no crystalline regions) → controlled FBR → M1→M2 macrophage polarisation → fibroblast adhesion to porous surface → Type I collagen. Amorphous = more uniform degradation, less crystalline residue vs PLLA → lower late nodule risk. | Cheeks, temples, NLF, jawline, décolleté | Neck, décolleté, arms, hands, abdomen, gluteal, thighs | Both | Superficial subcutaneous (preferred); sub-SMAS or juxtaperiosteal for volumisation. 26–30 G needle or 22–25 G cannula. | 3–6 (faster than PLLA; optimal assessment at 2–6 months post final session) | ~24 (maintenance every 24 months) | NOT reversible | Mild: 1; Moderate: 2–3; Severe: 3+; ≥30-day intervals; 90-day assessment window post-final | No | Yes — April 2021 | Yes (AEMPS registry) | Add to reconstitution | Sculptra (PLLA), Juvelook (PDLLA+HA), Lenisna (PDLLA+HA higher conc) | Med | Korean RCT data; Brazilian Delphi consensus (PMC11626391); EU peer-reviewed publications. PMC7154629 (PDLLA vs PLLA comparison). | Lower than PLLA (amorphous, porous structure). Nodules: IL triamcinolone ± 5-FU; RF monopolar over nodule (exploits low glass-transition temp of PDLLA) reported complete resolution in 24 h. | Combine with HA for immediate + delayed effect. Body dosing table: face 1–2 vials; neck 1; décolleté 1–2; arms 1/side; abdomen 1–4; gluteal 1–5; thighs 1–4. | AestheFill: PDLLA = amorphous PLLA. Faster onset, porous microspheres, Korean pioneer (2014 first PDLLA approval). | Avoid periorbital, lips. Limited long-term data vs Sculptra 20-year track record. [AEMPS] mfr REGEN Biotech, Inc.; ES distributor MEDYGLOBAL MEDICAL DEVICES S.L.; composición: PLA (Poly-D,L-lactide Acid), CMC(Carboxymethylcelulose) | Verified | https://pmc.ncbi.nlm.nih.gov/articles/PMC11626391/ ¦ https://pmc.ncbi.nlm.nih.gov/articles/PMC7154629/ | Peer-review (PMC) — consensus + PDLLA comparison
Juvelook | Juvelook 50 mg (PDLLA + HA) | VAIM Global Inc. (Seoul, South Korea) | Korea (MFDS) / EU (CE 2020) — NOT FDA approved | PDLLA + HA hybrid | PDLLA 42.4 mg + non-crosslinked HA 7.5 mg per vial; PDLLA particles 10–40 µm porous reticular structure | 1 vial → 2–6 mL after reconstitution | QUICK: add 2 mL sterile saline; mix 5 min. OPTIMISED: 6 mL bacteriostatic saline + back-and-forth ×5 + vigorous side-to-side 2 min → immediate use. | Dual-action: HA provides immediate dermal hydration (Day 0–14). PDLLA porous reticular microspheres → FBR → fibroblast adhesion → neocollagenesis (Weeks 2–12+). Non-crosslinked HA acts as scaffold and degrades with PDLLA. | Periorbital/tear trough (key niche vs pure PLLA), fine lines, pores, acne scars, NLF, jawline, skin quality full face | Neck, décolleté, hands, inner arms | Both | Superficial to mid-dermis (1.5–2.0 mm reticular dermis); 27–30 G needle | HA immediate + PDLLA collagen Weeks 2–12 | 6–12 (smaller particles, shallower plane than Lenisna) | NOT reversible (PDLLA component). HA non-crosslinked — hyaluronidase not standard approach. | 3 sessions × 4-week intervals | No | Yes — 2020 | Yes (AEMPS registry) | Varies; often topical only | Lenisna (same manufacturer, higher PDLLA for deeper use), AestheFill (PDLLA only, no HA), Sculptra | Low-Med | 2024 JCD preliminary study (doi:10.1111/jocd.16085); PMC12093134 case report; NCT05913102 RCT ongoing. | Lower than PLLA (amorphous, porous structure, smaller particles). PDLLA nodule: IL steroid or monopolar RF. | Unique periorbital niche: tear trough use cautiously where pure PLLA/PDLLA too risky. HA carrier softens microsphere concentration. | Juvelook: juve(nate) + look. Small particles (10–40 µm) for dermal plane. HA carrier = dual mechanism in one vial. | Tear trough: proceed cautiously; limited data. Not FDA approved. VAIM Inc., not Dexlevo. [AEMPS] 2 SKUs registered in ES (see aemps-registry) | Verified | https://onlinelibrary.wiley.com/doi/10.1111/jocd.16085 ¦ https://pmc.ncbi.nlm.nih.gov/articles/PMC12093134/ | Peer-review (JCD + PMC)
Lenisna | Lenisna 200 mg (PDLLA + HA volumiser) | VAIM Global Inc. (Seoul, South Korea) — distributed by JDBIO Co., Ltd. | Korea (MFDS) / EU (CE) — NOT FDA approved | PDLLA + HA hybrid | PDLLA 170 mg + non-crosslinked HA 30 mg = 200 mg/vial; particles 50–60 µm spherical porous interior | 1 vial → 8–9 mL after reconstitution | Add 8 mL SWFI or NS + 1–2 mL lidocaine. Reconstitute 24 h prior (preferred) or immediate: back-and-forth method. Vortex 30 min before injection (if 24 h reconstitution). | Identical PDLLA FBR mechanism to Juvelook. 4× higher PDLLA concentration + larger particles (50–60 µm) → deeper tissue plane, more pronounced volumetric biostimulation vs Juvelook (dermal). | Midface, cheeks, jawline (volumisation zones) | Arms, knees, buttocks, stretch marks — deeper body contouring | Both | Subcutaneous or supraperiosteal — NOT intradermal (granuloma risk at high conc in dermis); 25 G cannula | Collagen peaks 8–12 weeks post-final session | 18–24 (larger particles, deeper plane) | NOT reversible | 2–3 sessions × 4-week intervals | No | Yes | Yes (AEMPS registry) | Add to reconstitution | Juvelook (same manufacturer, shallower/dermal use), AestheFill (PDLLA only, deeper) | Low-Med | Evidence extrapolated from PDLLA class and Juvelook studies; no independent published RCT for Lenisna. Protocol PDF: easyfairsassets.com. | Moderate at high concentration if injected too superficially. Deeper plane = lower risk. | Juvelook (dermal plane) + Lenisna (subcut) = layered PDLLA protocol for full skin quality + volumisation. Same VAIM family. | Lenisna = Juvelook's bigger sibling. 50–60 µm particles for subcutaneous vs Juvelook's 10–40 µm for dermis. | NOT intradermal at this concentration. Not FDA approved. VAIM Inc. manufacturer. [AEMPS] 2 SKUs registered in ES (see aemps-registry) | AEMPS registry (ES) | https://aestha.co.uk/collagen-biostimulators-lenisna-vs-juvelook/ ¦ https://en.jdbio.com/products/lenisna-pdlla | Distributor/market sources
Sculptra | Sculptra / Sculptra Aesthetic | Galderma SA (Lausanne, Switzerland) | US / EU / Global | PLLA | PLLA (poly-L-lactic acid) 150 mg/vial lyophilised powder + CMC + mannitol | 1 vial powder → 9 mL after reconstitution (standard facial protocol) | TRADITIONAL (72 h): 8 mL SWFI + 1 mL 2% lidocaine = 9 mL; shake vigorously before use. IMMEDIATE-USE (FDA 2023): add first 5 mL SWFI, agitate 1 min, then add 3 mL + 1 mL lido = 9 mL. BODY: up to 19 mL SWFI + 1 mL lido = 16–20 mL total (≈8.35 mg/mL). Massage 5-5-5 rule: 5 min, 5×/day, 5 days post-injection. | PLLA microspheres → foreign-body response (FBR) → M1→M2 macrophage polarisation → fibroblast recruitment → Type I/III collagen neosynthesis. Indirect volumisation via ECM deposition. | Temples, cheeks/malar, midface, NLFs, mandibular pre-jowl, jawline, chin, perioral | Décolleté, buttocks/gluteal, inner arms, abdomen, thighs, scars | Both | Subcutaneous (cannula preferred, 87% facial sessions); supraperiosteal for bony landmarks. NEVER intradermal. | 4–6 (peak effect 3–6 months) | 18–24+ after full course | NOT reversible. No enzymatic dissolution. Corticosteroids (IL triamcinolone 10–40 mg/mL ± 5-FU) for nodules. | 3 sessions ≥3 weeks apart (standard); 2 for mild cases | YES — P030050 (HIV lipoatrophy 2004); P030050S012 (NLF/smile lines 2009); P030050S039 (full face + body 2023) | Yes — in use since 1999 | Class III CE device — available in Spain; verify AEMPS RSMD | Add to reconstitution (off-label mixing accepted in consensus) | Lanluma V (EU/PLLA), AestheFill (PDLLA), Gouri (liquid PCL) | High | RCT + multiple international consensus guidelines (ASDS, ISAPS, ESPD). PMC11626369 (immediate reconstitution study). | SIGNIFICANT — 3.44% (traditional protocol); 0.44% (immediate-use). Avoid: lips, periorbital, intradermal plane. | Inject Sculptra before HA in sequence. Do NOT mix in same syringe. Can combine with neurotoxin/energy devices. | Sculptra: 3-3-3 rule — 3 sessions / 3 months to peak / lasts 3 years. | Avoid periorbital and lips. Accutane within 12 months: caution. HIV lipoatrophy: on-label. | Verified | https://www.fda.gov/medical-devices/recently-approved-devices/sculptra-p030050s039 ¦ https://pmc.ncbi.nlm.nih.gov/articles/PMC11626369/ | Regulator (FDA) + Peer-review (PMC)
Lanluma | Lanluma V (facial) | Sinclair Pharma PLC (London, UK) | EU / UK | PLLA | PLLA 210 mg/vial lyophilised powder; final conc after dilution ~7 mg/mL | 1 vial powder → 15 mL after reconstitution | Add 15 mL SWFI. Shake 10 min, rest ≥1 h (up to 72 h). Immediately before injection: agitate 1 min until uniform translucent suspension. Use within 72 h of reconstitution. | Same PLLA FBR → neocollagenesis as Sculptra. Larger-particle formulation than Sculptra. | Full face: temples, cheeks, midface, jawline, mandibular sulcus, chin | Neck, décolleté, hands (small volumes) | Face (primary) | Subcutaneous; 21–23 G cannula | 4–8 | >24 (post-market study data) | NOT reversible | 3 sessions — T0, T1 (3 months), T2 (6 months) | No | Yes — CE 1023, Class III, introduced Feb 2021 | Yes (AEMPS registry) | No (separate local anaesthesia) | Sculptra (US equivalent), Lanluma X (body), AestheFill (PDLLA) | Med | 9-month post-market study (PMC11626332); consensus; fewer RCTs than Sculptra. | ~5% of sessions (face/neck/hands); mostly self-resolved within 7–59 days. Prevention: dilute adequately, correct depth, 5-min post-massage. | Combine with HA fillers — Lanluma first (deep), HA at follow-up for superficial correction. | Lanluma: V = Visage (face). Sinclair's PLLA. Higher vial concentration than Sculptra. | Avoid lips, periorbital. Same nodule precautions as Sculptra. [AEMPS] 3 SKUs registered in ES (see aemps-registry) | Verified | https://pmc.ncbi.nlm.nih.gov/articles/PMC11626332/ ¦ https://sinclair.com/brands/injectables-and-threads/lanluma/ | Peer-review (PMC) + Manufacturer
Lanluma | Lanluma X (body) | Sinclair Pharma PLC (London, UK) | EU / UK | PLLA | PLLA 630 mg/vial lyophilised powder; ~7–8 mg/mL final after dilution | 1 vial powder → 40 mL after reconstitution | Add 40 mL SWFI. Same agitation/rest protocol as Lanluma V. Use within 72 h. | Same PLLA FBR neocollagenesis; optimised for large-volume body distribution. | Not primary | Buttocks augmentation, hip dips, lateral thighs, arms, abdomen, knees | Body | Subcutaneous, superficial to Scarpa's fascia. Avoid muscle. | 6–12 (body onset slower) | 18–24 | NOT reversible | 2–4 sessions; larger volumes per session | No | Yes (EU body contouring indication) | Yes (AEMPS registry) | No | Sculptra (off-label body), AestheFill (PDLLA body) | Med | Post-market data; body biostimulators: fewer RCTs. PMC11626332. | Lower in body (deeper plane, higher dilution). Still requires massage compliance. | Body protocols: dilute generously, retrograde/cross-hatch fanning. 25 G cannula. | Lanluma: X = eXtra body / bigger volumes. Sinclair's body PLLA. | Avoid intramuscular injection. Not for periorbital/lips. [AEMPS] 3 SKUs registered in ES (see aemps-registry) | Verified | https://sinclair.com/brands/injectables-and-threads/lanluma/ ¦ https://pmc.ncbi.nlm.nih.gov/articles/PMC11626332/ | Manufacturer + Peer-review (PMC)
Nithya | Nithya (PN injectable) | Fidia Farmaceutici S.p.A. (Abano Terme, Italy) — original PDRN pharmaceutical developer (Placentex) | EU / select markets | PN (PDRN — salmon-derived) | Approx 2.5% PN (exact: verify IFU); Fidia is originator company of PDRN therapeutics | Vial (size: verify IFU) | Ready to inject | Identical A2A receptor pathway. Fidia's scientific pedigree: developed Placentex (PDRN wound healing pharmaceutical) — strongest mechanistic background in PDRN class. | Face, neck, periorbital | Décolleté, body | Both | Intradermal | 2–4 | 4–6 | Biodegradable | 3–4 | No | Yes (reported; Fidia is major EU pharmaceutical company) | CE-marked | Not typically | Plinest, Rejuran (same PDRN class) | Low | Limited branded aesthetic product data. Fidia's broader PDRN research (Placentex) provides strong mechanistic foundation. MDPI 2024 PDRN review (doi:10.3390/ijms25158224). | Very low | Fidia's pharmaceutical heritage = strong safety profile expectation. Limited branded aesthetic clinical publications. | Nithya = Fidia's aesthetic PDRN. Fidia = the original PDRN pharma company (Placentex wound healing). | Fish allergy. Not FDA approved. Limited branded clinical data. | Draft (unverified) | https://www.mdpi.com/1422-0067/25/15/8224 | Peer-review (MDPI — PDRN pharmacology review)
Rejuran | Rejuran Healer | Caregen Co., Ltd. (Seoul, South Korea) | Korea (MFDS) / EU (CE) / select international | PN (PDRN) | Polynucleotides (PDRN) from salmon (Oncorhynchus keta) milt ~1–2 mg/mL per vial | 1 mL vial | Ready to inject | PDRN → A2A receptor → fibroblast proliferation → collagen/elastin neosynthesis + anti-inflammatory + angiogenesis. Salmon milt-derived (vs trout in Plinest); same functional mechanism. | Full face, periorbital, under-eye, forehead, perioral, neck | Neck, décolleté, hands, scalp | Both | Intradermal (papule technique); 30–32 G needle, 0.5–2 mm | 2–4 | 4–6 per session; maintenance 3–6 months | Biodegradable; no reversal | 3–4 sessions × 3–4-week intervals | No | Yes | CE-marked, available in Spain | Topical only | Plinest (same PDRN class, trout-derived), Nucleofill, Ameela | Med | Split-face RCT n=27 (Rejuran vs HA: GAIS superior at 16 w, wrinkle reduction at 28 w); 218-subject observational (61.4% periorbital wrinkle reduction at 12 w); PMC11845969 systematic review. | Very low — soluble PDRN | Widely combined: HA skinboosters, neurotoxin, laser. Popular 'skin booster' protocol. | Rejuran: RE(generate)+JU(venate)+RAN(Korean for young). Korean original PDRN. Salmon milt source. | Fish/salmon allergy: relative contraindication. Not FDA approved. | Verified | https://pmc.ncbi.nlm.nih.gov/articles/PMC11845969/ ¦ https://www.mdpi.com/2076-3417/15/19/10437 | Peer-review (PMC) — systematic review + MDPI pharmacology
Rejuran | Rejuran S (scar) | Caregen Co., Ltd. (Seoul, South Korea) | Korea / EU / select markets | PN (PDRN) — high viscosity | PDRN (salmon) 20 mg/mL — highest viscosity in Rejuran line for intralesional use | 1 mL vial | Ready to inject | High-viscosity PDRN → intralesional mechanical fill + A2A receptor anti-fibrotic + collagen remodelling in scar tissue | Atrophic acne scars, depressed scars, ice-pick scars | Body scars, stretch marks | Both | Intralesional; deeper than standard Rejuran (subdermal scar plane) | 4–8 | 4–6 per session | Biodegradable | 4–6 sessions monthly | No | Yes | CE-marked | Topical | Plinest (standard), subcision + HA combination for scars | Low-Med | 2024 scar case series (Tandfonline doi:10.1080/09546634.2024.2426626); limited large RCT. | Very low | Combine with subcision + fractional laser / RF microneedling for scar treatment | S = Scars. Thickest Rejuran for intralesional scar work. | Fish allergy. Not FDA approved. | Draft (unverified) | https://www.tandfonline.com/doi/full/10.1080/09546634.2024.2426626 | Peer-review
Nucleofill | Nucleofill Medium (PN 2.0%) | Promoitalia Group S.p.A. (Rome, Italy) | EU / select markets | PN (polynucleotides — salmon-derived) | PN 20 mg/mL (2%); line also includes: Soft Plus 1.5%, Medium Plus 2.5%, Strong 2.5%, Strong Plus 2.5% | 2 mL vial | Ready to inject | PN → A2A receptor → fibroblast proliferation + ECM remodelling + collagen synthesis. Tiered concentrations allow zone-specific dosing. | All facial zones, neck (Medium and Medium Plus) | Décolleté, neck | Both | Intradermal, varies by variant | 3–5 | 6–9 | Biodegradable | 2–3 | No | Yes | CE-marked, available in Spain | Not typically | Nucleofill Strong (structural zones), Plinest, Rejuran | Low-Med | CE biocompatibility data; no brand-specific published RCT. PN class evidence. | Very low | Strong/Strong Plus = structural facial zones. Soft = periorbital. Medium = general facial. | Nucleofill: range from Soft (periorbital) → Medium (face) → Strong (structural). Italian Promoitalia. | Fish allergy (salmon). Not FDA approved. | Draft (unverified) | https://promoitalia.eu/nucleofill/ | Manufacturer
Plinest | Plinest (PN injectable) | Mastelli S.r.l. (Sanremo, Italy) | EU / select international | PN (polynucleotides) | Polynucleotides HPT (High Purification Technology) from rainbow trout 20 mg/mL; 40 mg per 2 mL syringe | 2 mL pre-filled syringe | Ready to inject | PN fragments → adenosine A2A receptor agonism on fibroblasts → VEGF upregulation + anti-inflammatory + fibroblast proliferation → collagen I/III + elastin synthesis. No FBR, no polymer scaffold. Receptor-mediated biostimulation. | Full face, periorbital, under-eye, forehead, perioral, neck | Décolleté, hands, scalp (hair loss protocols), body | Both | Intradermal (nappage/papular technique); 30–32 G needle, <2 mm depth | 2–4 (skin quality); 4–8 (collagen remodelling) | 4–6 per session; maintenance every 4–6 months | Fully biodegradable; no structural component. No dissolution needed. | 3 sessions × 2–3-week intervals (standard protocol) | No | Yes — Class III (EU MDR 2017/745) | CE-marked, available in Spain | Not typically needed (fine needle, intradermal) | Newest (same manufacturer + HA), Rejuran (Caregen, same PDRN class), Nucleofill, Ameela (UK brand = same compound) | Med | Post-market observational study n=66 (PMC12759169); systematic review PN class n=219 (PMC11845969); A2A receptor mechanism well-characterised. | VERY LOW — fully soluble PN, no particulate matter | Excellent with: neurotoxin, energy devices, PRP, HA skinboosters. Can mix with vitamins/mesotherapy per protocol. | Plinest: PLI=poly, NEST=regenerate. Italian PN. Trout-derived. 3 sessions biweekly. | Fish/trout allergy: relative contraindication. Autoimmune disease: caution. Not FDA approved. | Verified | https://pmc.ncbi.nlm.nih.gov/articles/PMC12759169/ ¦ https://pmc.ncbi.nlm.nih.gov/articles/PMC11845969/ | Peer-review (PMC) — observational study + systematic review
Plinest | Newest (PN + HA) | Mastelli S.r.l. (Sanremo, Italy) | EU / select markets | PN + HA hybrid | PN 20 mg/mL (HPT, trout) + non-crosslinked HA (exact mg/mL: verify IFU) | 2 mL syringe | Ready to inject | Identical PN A2A receptor biostimulation; HA adds immediate hydration and enhanced fibroblast PN interaction (manufacturer claim: ~20% enhancement; not independently validated). | All facial zones, neck; dehydrated/aging skin | Décolleté, body | Both | Intradermal | Faster hydration (immediate HA) + delayed PN biostimulation | 4–6 | Biodegradable; no reversal needed | 3 sessions × 2–3 weeks | No | Yes | Yes (AEMPS registry) | Not needed | Plinest (PN only), Rejuran HB (PN+HA, Caregen) | Low | Manufacturer-reported data; no independent RCT for Newest brand. Evidence extrapolated from PN-HPT class. | Very low | Use when combined hydration + biostimulation desired in single product | Newest = Plinest + HA. Same Mastelli PN technology, dual-mechanism variant. | Fish allergy. Not FDA approved. Limited independent evidence vs Plinest. [AEMPS] 5 SKUs registered in ES (see aemps-registry) | AEMPS registry (ES) | https://mastelli.com/ ¦ https://glojasaesthetic.com/skin-blog/plinest-newest-treatment/ | Manufacturer
Rejuran | Rejuran HB (Healer Booster) | Caregen Co., Ltd. (Seoul, South Korea) | Korea / EU (CE) / select markets | PN + HA hybrid | PDRN (salmon) + HA + lidocaine (exact concentrations: verify IFU) | 1 mL vial | Ready to inject | HA provides immediate dermal hydration; PDRN activates A2A receptors for regeneration. Lidocaine for tolerability. | Full face, periorbital, neck (skinbooster approach) | Décolleté, hands | Both | Intradermal to superficial subdermal | 1–3 (HA immediate) + 4–6 (PDRN) | 3–4 | Biodegradable | 3–4 sessions monthly | No | Yes | CE-marked, available in Spain | Yes | Rejuran Healer (PDRN only), Newest (PN+HA, Mastelli) | Low-Med | Class extrapolation from Rejuran Healer; no independent RCT for HB variant. | Very low | Combines hydration + biostimulation in single product | HB = Healer Booster = PDRN + HA from Caregen. | Fish allergy. Not FDA approved. Limited independent data. | Draft (unverified) | https://caregen.co.kr/en/ | Manufacturer

## Learning Index
DRAFT — UNVERIFIED (model knowledge + verified sources). Per-row 'Source verification' = Verified / Draft (unverified). NEVER use unverified data clinically without cross-checking IFU/SmPC.
Chemistry Family | Products (name ladder) | Mechanism summary | Fast clinical cue
PLLA | Sculptra → Lanluma V (face) → Lanluma X (body) | Foreign-body response (FBR): PLLA microspheres → macrophage recruitment → fibroblast activation → Type I collagen. Semicrystalline = nodule risk if underdiluted. | Think: 3 sessions / 3 months to peak / lasts 2–3 years. No reversal. Massage 5-5-5 mandatory.
PDLLA | AestheFill → Juvelook 50 mg (dermal) → Lenisna (subcutaneous) → Juvelook Volume | Same FBR as PLLA but amorphous (racemic) polymer = no crystalline residue. Porous microspheres = higher surface area for fibroblasts. Faster onset, lower late nodule risk vs PLLA. | Korean innovation. PDLLA = the 'amorphous improvement' on PLLA. Juvelook adds HA carrier for dual mechanism.
PCL | Gouri (liquid) → Ellansé S (1 yr) → Ellansé M (2 yr) → Ellansé L (3 yr) → Ellansé E (4 yr) | PCL microspheres (Ellansé) or soluble liquid (Gouri) → FBR → Type III collagen (9 months) → Type I (21 months). CMC provides immediate fill. PCL degrades slowest of all polymers. | NOT FDA approved. Ellansé: ready-to-inject, one session. Gouri: liquid no prep. Longevity = polymer strand length (S<M<L<E).
CaHA | Radiesse → Radiesse+ (+ lidocaine) → Hyperdiluted Radiesse (technique) | CaHA microspheres → M2c macrophage pathway → organised fibroblast activation → collagen + elastin. No FBR (different from polymer biostimulators). CMC immediate fill. NOT reversible with hyaluronidase. | FDA hands (2015) + décolleté (2026) = broadest body label. Hyperdilute: 1:2 to 1:6 = pure biostimulation mode. Avoid lips/periocular ABSOLUTELY.
CaHA + HA Hybrid | HArmonyCa | CaHA 55.7% (neocollagenesis) + HA 20 mg/mL (immediate volume) in single prefilled syringe. Partial reversal: HA reversible with hyaluronidase; CaHA NOT reversible. | First hybrid product. The HA component = safety net vs pure CaHA. Single session often sufficient. FDA status: verify.
HA Biostimulating | Neauvia Stimulate (HA + CaHA 1% + amino acids) | PEG-crosslinked HA scaffold + CaHA 1% (low-dose fibroblast activation) + L-Proline + Glycine (collagen substrate supply). NOT reversible (PEG-HA). | Triple mechanism: volume + biostimulation + collagen substrates. Weaker CaHA effect vs Radiesse (1% vs 30%) but combined with HA volume.
PN / PDRN | Plinest → Newest (PN+HA) ¦ Rejuran Healer → Rejuran HB → Rejuran S ¦ Nucleofill Medium → Nucleofill Strong ¦ Nithya | Polynucleotides → adenosine A2A receptor on fibroblasts → VEGF + fibroblast proliferation → collagen/elastin. No FBR. Receptor-mediated. Fully biodegradable. | Fish-derived (trout or salmon). Safest nodule profile. Multiple small sessions (3–6). Fish allergy: relative contraindication. Not FDA approved.
HA Bioremodeler | Profhilo (face) → Profhilo Body → Profhilo Structura | Thermal hybrid H-HA + L-HA (no crosslinker) → CD44/RHAMM/TLR4/HARE receptor signalling → endogenous collagen I/III/IV + elastin + HA. NOT a filler. NOT a true FBR biostimulator. Bioremodeler class. | BAP technique = 10 injections total (5/side). Spreads 2 cm from point. Deep subdermal ONLY. Combine with true biostimulators at separate session for full effect.

## Indication Product
DRAFT — UNVERIFIED (model knowledge + verified sources). Per-row 'Source verification' = Verified / Draft (unverified). NEVER use unverified data clinically without cross-checking IFU/SmPC.
Anatomical Zone / Indication | Best Biostimulator(s) | Depth / Plane | Clinical Notes
Abdomen | Lanluma X, Sculptra, Hyperdiluted Radiesse, Profhilo Body | Subcutaneous (superficial to Scarpa's fascia) | Body contouring / skin quality. Lanluma X = largest volumes. HD-Radiesse = 1:4–1:6.
Arms (inner / posterior) | Hyperdiluted Radiesse (1:4), Profhilo Body, Sculptra, Lanluma X | Subcutaneous (HD-Radiesse, PLLA); subdermal (Profhilo) | Body biostimulation. Session protocol: 3 sessions × 30 days. Collagen + skin laxity improvement.
Buttocks / Gluteal | Lanluma X, Sculptra, AestheFill | Subcutaneous (avoid muscle) | Body volumisation + skin quality. Lanluma X: designed for buttocks. Sculptra: established protocol.
Cheeks / Malar / Midface | Sculptra, Radiesse, Ellansé M, HArmonyCa, AestheFill, Lanluma V, Lenisna | Deep subcutaneous to supraperiosteal | All major biostimulators applicable; choice by longevity/reversibility preference
Décolleté | Hyperdiluted Radiesse (FDA 1:2 approved 2026), Profhilo Body, Sculptra, Plinest | Subdermal; intradermal (PN) | HD Radiesse 1:2 = first FDA-approved biostimulator décolleté (April 2026). Combine with Profhilo.
Forehead | Sculptra, Gouri, Plinest/Rejuran (skin quality) | Subperiosteal (volume); intradermal (skin quality) | Neurotoxin first; biostimulators for volume replacement; PN for skin texture
Hands (dorsum) | Radiesse 1.5 mL (FDA hands 2015), Ellansé M, Sculptra, Profhilo Body, Plinest | Subcutaneous; intradermal (PN) | Radiesse: only FDA-approved product for hand augmentation. Volume 1.5 mL/hand.
Lips | NONE — all biostimulators CONTRAINDICATED in lips | N/A | ABSOLUTE CONTRAINDICATION for PLLA, CaHA, PCL, PDLLA in lips. HA fillers only.
Mandibular / Jawline / Chin | Radiesse+, Ellansé M/L, HArmonyCa, Sculptra, AestheFill | Supraperiosteal / deep subcutaneous | Radiesse+: FDA jawline indication. Ellansé L/M: excellent for long-lasting jaw definition.
Nasolabial folds | Radiesse+, Ellansé M, HArmonyCa, AestheFill, Sculptra | Subcutaneous / supraperiosteal | Radiesse: FDA on-label; Ellansé M most popular; HA filler usually preferred for NLF correction
Neck | Profhilo, Hyperdiluted Radiesse (1:2–1:4), Plinest, Lanluma V, Sculptra | Subdermal (Profhilo/HD-Radiesse); intradermal (PN) | Profhilo + HD-Radiesse = gold standard neck biostimulation protocol. PN for skin quality.
Perioral / Smoker's lines | Plinest, Rejuran, Sculptra (deep, experienced only) | Intradermal (PN); subcutaneous deep (PLLA — cautious) | PN safest perioral. PLLA/CaHA: high nodule risk perioral.
Periorbital / Under-eye | Juvelook 50mg, Rejuran I, Plinest, Profhilo (with care) | Superficial subdermal / intradermal | TRUE biostimulators (CaHA, PLLA): HIGH RISK — avoid. Juvelook (HA+PDLLA) cautiously. PN safest.
Pre-jowl sulcus | Radiesse+, Ellansé M, Sculptra, AestheFill | Supraperiosteal | Same as jawline. HA filler for immediate correction + biostimulator for maintenance.
Scalp / Hair loss | Plinest, Rejuran, Nucleofill (off-label) | Intradermal (scalp) | PN/PDRN: VEGF upregulation → angiogenesis → hair follicle support. Off-label use.
Scars (atrophic) | Rejuran S, AestheFill, Plinest, Sculptra (off-label deep) | Intralesional / subdermal scar plane | Rejuran S: first-choice PN for scars. Combine with subcision + RF microneedling.
Tear trough | Juvelook 50mg (cautious), Profhilo (off-label) | Supraperiosteal / deep fat compartment | Juvelook: unique HA+PDLLA niche. Pure PLLA/CaHA/PCL: AVOID. Very limited data.
Temple | Sculptra, Lanluma V, Radiesse, Ellansé M/L | Supraperiosteal | Avoid superficial; vascular-safe with cannula; PLLA/PCL excellent for volume deficit
Thighs / Legs | Lanluma X, Sculptra, Hyperdiluted Radiesse, Profhilo Body | Subcutaneous | Inner thigh laxity + cellulite skin quality. HD-Radiesse 1:4–1:6 for large areas.

## Substitutability
DRAFT — UNVERIFIED (model knowledge + verified sources). Per-row 'Source verification' = Verified / Draft (unverified). NEVER use unverified data clinically without cross-checking IFU/SmPC.
Product | Substitute(s) | Clinical Caveat / Difference
AestheFill | Sculptra (PLLA crystalline), Juvelook (PDLLA+HA) | AestheFill = PDLLA amorphous = lower nodule risk vs Sculptra. Juvelook = adds HA carrier.
Ellansé L/E | Ellansé M (shorter, less risk), Sculptra (PLLA, sessions needed but no 3–4 yr commitment) | Long-longevity PCL = long duration of any adverse event. Consider Sculptra 3 sessions for retreatability.
Ellansé M | Ellansé L (longer), Radiesse+ (CaHA, FDA approved, shorter longevity) | M = workhorse. If FDA-approved needed: Radiesse (shorter, different chemistry).
Ellansé S | Ellansé M (longer longevity), Radiesse (CaHA, shorter, reversibility caveat same) | S for first-time PCL patients. M for longer commitment. Radiesse: shorter longevity but FDA approved.
Gouri (liquid PCL) | Ellansé S/M (particulate PCL), Sculptra (PLLA) | Gouri: no reconstitution prep, possibly lower nodule risk. Less long-term data than Ellansé/Sculptra.
HArmonyCa | Radiesse + HA (separate injections), Juvelook (PDLLA+HA hybrid) | HArmonyCa = single injection hybrid. Separate Radiesse + HA = more control. Juvelook = different chemistry.
Hyperdiluted Radiesse | Sculptra (diluted PLLA), Profhilo Body (HA bioremodeler for skin quality) | For pure skin quality: Profhilo + HD-Radiesse = different mechanism, combinable. Sculptra diluted = PLLA pathway.
Juvelook 50mg | Lenisna (same manufacturer, higher PDLLA, deeper plane), AestheFill (PDLLA only) | Juvelook (dermal) + Lenisna (subcut) = layered VAIM protocol. AestheFill = no HA carrier.
Lanluma V | Sculptra (US/global PLLA), AestheFill | Sculptra = gold standard evidence. Lanluma V = CE/UK only.
Lanluma X | Sculptra (off-label body), AestheFill (body protocol) | Lanluma X = CE body indication; Sculptra = off-label body (on-label US 2023).
Lenisna | Juvelook Volume (same manufacturer), AestheFill (deeper, no HA) | Lenisna for deep/volumisation. Juvelook for superficial/skin quality. Both from VAIM.
Neauvia Stimulate | HArmonyCa (CaHA+HA), Radiesse + HA separate | Neauvia Stimulate: PEG-HA (not reversible) + low CaHA 1%. HArmonyCa: BDDE-HA (partially reversible) + higher CaHA 55.7%.
Plinest | Newest (same + HA), Rejuran (same PDRN class, salmon), Nucleofill, Ameela (UK brand) | All PN/PDRN class — same A2A mechanism. Plinest = trout, Rejuran = salmon. Interchangeable in clinical practice.
Profhilo | Profhilo Body (body version), HA skinboosters (Restylane Vital) + separate biostimulator | Profhilo = bioremodeler (not true biostimulator). For true neocollagenesis: add PLLA/CaHA/PCL at separate session.
Radiesse 1.5 mL | Radiesse+, Ellansé M (PCL, similar longevity), HArmonyCa (CaHA+HA) | Radiesse+ = same + lidocaine. Ellansé M = no reversal risk but no lidocaine. HArmonyCa = partial HA reversal available.
Radiesse+ | Radiesse (without lidocaine), HArmonyCa | If lidocaine allergy: use plain Radiesse. HArmonyCa: partial reversal option via HA component.
Rejuran Healer | Plinest (Italian equivalent), Nucleofill, Ameela (UK) | Same PDRN class. Plinest = Italian regulatory pathway. Rejuran = Korean origin, widely distributed EU.
Sculptra | Lanluma V (EU), AestheFill (PDLLA, faster onset) | Chemistry class equivalent (PLLA/PDLLA). Lanluma: EU only. AestheFill: PDLLA amorphous = lower nodule risk. Sessions may differ.

## Coverage Log
DRAFT — UNVERIFIED (model knowledge + verified sources). Per-row 'Source verification' = Verified / Draft (unverified). NEVER use unverified data clinically without cross-checking IFU/SmPC.
Company / House | Products in Catalog | Notes
Allergan Aesthetics / AbbVie (US) | 1 | HArmonyCa
Caregen (Korea) | 3 | Rejuran Healer; Rejuran HB (Healer Booster); Rejuran S (scar)
Dexlevo (Korea) | 1 | Gouri PC (injectable liquid PCL)
Fidia Farmaceutici (Italy) | 1 | Nithya (PN injectable)
Galderma (Switzerland) | 1 | Sculptra / Sculptra Aesthetic
IBSA Farmaceutici (Italy) | 2 | Profhilo (face); Profhilo Body
Mastelli (Italy) | 2 | Plinest (PN injectable); Newest (PN + HA)
MATEX LAB / Neauvia (Italy) | 1 | Neauvia Stimulate
Merz Aesthetics | 3 | Radiesse 1.5 mL; Radiesse+ 1.5 mL (with lidocaine); Hyperdiluted Radiesse (biostimulation technique)
Promoitalia (Italy) | 1 | Nucleofill Medium (PN 2.0%)
Regen Biotech (Korea) | 1 | AestheFill
Sinclair Pharma (UK) | 6 | Lanluma V (facial); Lanluma X (body); Ellansé S (≤18 months); Ellansé M (≤24 months); Ellansé L (≤36 months); Ellansé E (≤48 months)
TOTAL | 25
VAIM Global (Korea) | 2 | Juvelook 50 mg (PDLLA + HA); Lenisna 200 mg (PDLLA + HA volumiser)

## Stats
DRAFT — UNVERIFIED (model knowledge + verified sources). Per-row 'Source verification' = Verified / Draft (unverified). NEVER use unverified data clinically without cross-checking IFU/SmPC.
Products by Chemistry Class |  | Clinical Confidence Level
Category | Count | Category | Count
PCL | 4 | Med | 8
PLLA | 3 | Low-Med | 8
PDLLA + HA hybrid | 2 | High | 6
CaHA | 2 | Low | 2
PN + HA hybrid | 2 | Med-High | 1
PCL (liquid/solubilised) | 1
PDLLA | 1
CaHA (diluted) | 1
CaHA + HA hybrid | 1
HA + CaHA nano + amino acids (biostimulating HA) | 1
PN (polynucleotides) | 1
PN (PDRN) | 1
PN (PDRN) — high viscosity | 1
PN (polynucleotides — salmon-derived) | 1
PN (PDRN — salmon-derived) | 1
HA bioremodeler (ultra-high + low MW HA — NAHYCO® thermal hybrid) | 1
HA bioremodeler | 1
FDA Approval Status
Category | Count
Not FDA Approved | 22
FDA Approved | 3
Reversibility Profile
Category | Count
Not reversible | 16
Reversible/biodegradable | 9
Evidence ranking (transparent proxy):
High = multiple RCTs + FDA/CE review + independent long-term data (>5 yr)
Med = RCTs or large cohort studies; CE mark; ≥2 yr independent data
Low-Med = limited RCTs; manufacturer-sponsored data; CE mark; <2 yr independent data
Low = manufacturer data only; class-level extrapolation; no published RCT
Draft = model knowledge only; no verified published source

## Sources
DRAFT — UNVERIFIED (model knowledge + verified sources). Per-row 'Source verification' = Verified / Draft (unverified). NEVER use unverified data clinically without cross-checking IFU/SmPC.
Source Type | Title / Description | URL | What It Validated
Distributor/market | Lenisna vs Juvelook comparison | https://aestha.co.uk/collagen-biostimulators-lenisna-vs-juvelook/ | Lenisna composition (PDLLA 170mg + HA 30mg), particle sizes
Manufacturer | Dexlevo Gouri product page | https://gorgeousgouri.com/why_gouri | Gouri PCL composition + CESABP technology
Manufacturer | Sinclair Lanluma | https://sinclair.com/brands/injectables-and-threads/lanluma/ | Lanluma product specifications
Manufacturer | Sinclair Ellansé | https://www.sinclairpharma.com/products/ellanse/ | Ellansé S/M/L/E variant specifications
Manufacturer | Neauvia Stimulate | https://www.neauvia.com/product/stimulate/ | Neauvia Stimulate composition (HA 26 mg/mL + CaHA 1% + amino acids)
Manufacturer | IBSA Profhilo | https://www.ibsaderma.com/en/profhilo | Profhilo BAP technique, composition
Manufacturer (FDA news) | Radiesse décolleté approval April 2026 | https://merzaesthetics.com/news/fda-approval-radiesse-for-treatment-of-wrinkles-in-decollete-area/ | Radiesse first FDA-approved biostimulator face + body
Peer-review (JCD) | Juvelook preliminary PDLLA+HA study 2024 | https://onlinelibrary.wiley.com/doi/10.1111/jocd.16085 | Juvelook clinical outcomes
Peer-review (MDPI) | Ellansé adverse events systematic review | https://www.mdpi.com/2079-9284/11/5/165 | Ellansé AE rate 0.056%; overall safety profile
Peer-review (MDPI) | PDRN pharmacology review | https://www.mdpi.com/2076-3417/15/19/10437 | PDRN A2A receptor mechanism, clinical applications
Peer-review (PMC) | Sculptra immediate reconstitution multicenter safety study | https://pmc.ncbi.nlm.nih.gov/articles/PMC11626369/ | Sculptra reconstitution protocols + nodule rates
Peer-review (PMC) | Lanluma 9-month post-market study | https://pmc.ncbi.nlm.nih.gov/articles/PMC11626332/ | Lanluma V/X longevity, AEs, nodule rate
Peer-review (PMC) | PDLLA (AestheFill) Brazilian Delphi consensus | https://pmc.ncbi.nlm.nih.gov/articles/PMC11626391/ | AestheFill reconstitution, dosing, nodule management
Peer-review (PMC) | PDLLA vs PLLA polymer composition comparison | https://pmc.ncbi.nlm.nih.gov/articles/PMC7154629/ | PDLLA amorphous vs PLLA crystalline — mechanism/nodule risk
Peer-review (PMC) | Juvelook ultrasound case report PMC12093134 | https://pmc.ncbi.nlm.nih.gov/articles/PMC12093134/ | Juvelook tissue distribution
Peer-review (PMC) | Ellansé PCL review PMC7065466 | https://pmc.ncbi.nlm.nih.gov/articles/PMC7065466/ | Ellansé mechanism, longevity variants, evidence
Peer-review (PMC) | Hyperdiluted Radiesse protocols PMC10693750 | https://pmc.ncbi.nlm.nih.gov/articles/PMC10693750/ | Dilution ratios, age-stratified outcomes, technique
Peer-review (PMC) | CaHA regenerative review PMC11025388 | https://pmc.ncbi.nlm.nih.gov/articles/PMC11025388/ | CaHA mechanism, longevity, evidence
Peer-review (PMC) | HArmonyCa Italian retrospective cohort PMC11626326 | https://pmc.ncbi.nlm.nih.gov/articles/PMC11626326/ | HArmonyCa safety, outcomes, AE profile
Peer-review (PMC) | HArmonyCa safety retrospective PMC10860969 | https://pmc.ncbi.nlm.nih.gov/articles/PMC10860969/ | HArmonyCa safety profile
Peer-review (PMC) | Immunologic spectrum of biostimulators PMC12323983 | https://pmc.ncbi.nlm.nih.gov/articles/PMC12323983/ | Classification: true biostimulator vs bioremodeler vs hydrator; CaHA M2c vs PDLLA FBR mechanisms
Peer-review (PMC) | Polynucleotides systematic review PMC11845969 | https://pmc.ncbi.nlm.nih.gov/articles/PMC11845969/ | PN/PDRN class evidence review
Peer-review (PMC) | Plinest real-life observational study PMC12759169 | https://pmc.ncbi.nlm.nih.gov/articles/PMC12759169/ | Plinest clinical outcomes n=66
Peer-review (PubMed) | Profhilo mechanism study | https://pubmed.ncbi.nlm.nih.gov/30221451/ | Profhilo bioremodeler mechanism, NAHYCO technology
Regulator (ClinicalTrials) | Ellansé S FDA Phase III trial NCT06984835 | https://clinicaltrials.gov/study/NCT06984835 | Ellansé S FDA approval pathway (ongoing trial)
Regulator (FDA) | Sculptra P030050S039 — full face + body expansion 2023 | https://www.fda.gov/medical-devices/recently-approved-devices/sculptra-p030050s039 | Sculptra FDA approval status + indications
Regulator (FDA) | Radiesse PMA P050037 + P050052 | https://www.accessdata.fda.gov/cdrh_docs/pdf5/p050037c.pdf | Radiesse FDA approval: facial wrinkles, hands

## Notes
DRAFT — UNVERIFIED (model knowledge + verified sources). Per-row 'Source verification' = Verified / Draft (unverified). NEVER use unverified data clinically without cross-checking IFU/SmPC.
1 | DRAFT from model knowledge + verified web sources (July 2026). Confidence per-row.
2 | Gouri = PCL (polycaprolactone), NOT PLLA. Common error in literature.
3 | Juvelook + Lenisna: manufacturer = VAIM Global Inc., Seoul (NOT Dexlevo). Dexlevo makes Gouri.
4 | Sculptra vial = 150 mg PLLA (EU/US). Not 367.5 mg — that is an older/misquoted figure.
5 | HArmonyCa CaHA concentration = 55.7% (NOT 30%); FDA US status: unconfirmed — verify accessdata.fda.gov.
6 | Radiesse décolleté 1:2 dilution: FDA-approved April 2026 (after model knowledge cutoff).
7 | Profhilo = BIOREMODELER (signalling-based neocollagenesis), NOT a true biostimulator (no FBR). Important clinical distinction.
8 | Ellansé E: CE status uncertain in some EU markets — verify locally before prescribing.
9 | Perfectha Bioten: UNVERIFIED as biostimulator product. Perfectha = HA filler line (20 mg/mL HA). No PCL content confirmed.
10 | Dermaveil: UNVERIFIED — could not confirm as established product in any regulatory/manufacturer database.
11 | REVERSAL SUMMARY: PLLA/PDLLA/PCL/CaHA = NOT reversible. PN/PDRN = biodegradable (no action needed). Profhilo = biodegradable. HArmonyCa/Neauvia/Juvelook = HA component partially reversible, polymer/CaHA NOT reversible.
12 | Nodule management: IL triamcinolone 10–40 mg/mL ± 5-FU (first-line). Monopolar RF over PDLLA nodule (exploits low glass-transition temp — rapid resolution reported). Systemic steroids for granuloma.

## Dose per Zone
BIOSTIMULATOR DOSING — typical reconstitution + how much to place per facial/body zone per session. Reconstitution volumes are per IFU/consensus (see sheet 01 for full protocols); per-zone volumes are CONSENSUS ranges, not label doses — always titrate to the individual and confirm the IFU. Biostimulators are placed subcutaneous/supraperiosteal (NEVER intradermal for PLLA/CaHA/PCL microsphere products) with retrograde fanning/cross-hatch; cannula preferred on face. Deliver as a course (usually 2–3 sessions) — do NOT over-correct in one session (collagen builds over weeks). Sculptra 5-5-5 massage (5 min, 5×/day, 5 days).
Product | Reconstitution total (mL/vial) | Full-face dose (per session) | Cheek / midface (per side) | Temple (per side) | Jawline & chin (per side) | Neck & décolleté | Hands (per side) | Body (per session) | Technique (plane / points) | Source
AestheFill (PDLLA) | 7–8 mL SWFI (+1–2 mL lido) → ~9–10 mL | 1–2 vials | 1–2 mL | 0.5–1 mL | 0.5–1 mL | 1 vial (neck) / 1–2 (décolleté) | 1 vial split | Abdomen 1–4 / gluteal 1–5 / thighs 1–4 vials | Superficial subcutaneous; 26–30 G needle or 22–25 G cannula | Consensus + Korean/EU data
Ellansé S/M (PCL) | 1.0 mL prefilled (ready) | 1–2 mL total | 0.5–1 mL | 0.3–0.5 mL | 0.5–1 mL | Off-label (limited) | 0.5–1 mL | Off-label | Supraperiosteal (upper face) / subcutaneous (midface); NEVER intradermal | Consensus + CE IFU
Gouri (liquid PCL) | 1 mL prefilled RTU (shake) | 1 syringe panfacial | fanning aliquots | fanning aliquots | fanning aliquots | neck/décolleté off-label | 1 syringe | developing | Subcutaneous even fanning; no reconstitution | Draft (manufacturer)
Juvelook (PDLLA + HA — dermal) | 2 mL saline (quick) or 6 mL | 1 vial full-face skin quality | dermal microboluses (not volumising) | periorbital cautiously | fine lines | 1 vial | dermal | n/a | Reticular dermis 1.5–2 mm; 27–30 G; skin-quality not volume | Consensus + JCD 2024
Lanluma V (PLLA face) | 15 mL SWFI/vial | 1 vial (full face) | 1–2 mL | 0.5–1 mL | 0.5–1 mL | Small volumes diluted | 0.5–1 mL | n/a (use Lanluma X) | Subcutaneous 21–23 G cannula fanning; rest ≥1 h after recon | Consensus + manufacturer
Lanluma X (PLLA body) | 40 mL SWFI/vial | n/a (body) | n/a | n/a | n/a | n/a | n/a | Buttocks/hips/thighs — large volumes per session (10–40 mL/area) | Subcutaneous above Scarpa's; retrograde cross-hatch cannula | Consensus + manufacturer
Radiesse (CaHA structural) | 1.5 mL prefilled (ready) | 1.5–3 mL total | 0.5–1.5 mL | 0.3–0.5 mL (deep) | 0.5–1 mL | Hyperdilute only (see below) | 0.8–1.3 mL (often 1:1 diluted) | Not for structural body | Supraperiosteal / deep subdermal bolus + linear; NEVER intradermal | Consensus + FDA IFU
Radiesse hyperdiluted 1:2 (biostim) | 1.5 mL + 3 mL diluent = 4.5 mL | 4.5 mL over the treated field | 1.5–2.25 mL (skin-quality mode) | n/a | 1–2 mL | Décolleté 4.5 mL (on-label) / neck 4.5 mL | 1.5–2 mL | Arms/abdomen/thighs 4.5–10.5 mL (higher dilution) | Subdermal cross-hatch via cannula; inject immediately (separates) | Consensus + FDA (décolleté 1:2)
Sculptra (PLLA) | 8 mL SWFI + 1 mL lido = 9 mL/vial | 1 vial (mild) to 2 vials (moderate–severe) | 1–2 mL | 0.5–1 mL (deep/supraperiosteal) | 0.5–1 mL | 1–2 vials hyperdiluted (up to ~16 mL) | 1–1.5 mL | Buttocks 2+ vials (up to ~16–20 mL/side) | Subcutaneous cannula retrograde fanning; supraperiosteal at bony landmarks; 5-5-5 massage | Consensus + FDA IFU